XC PostProc

Sutron Corporation

21300 Ridgetop Circle

Sterling, Virginia 20166

TEL: (703) 406-2800

FAX: (703) 406-2801

WEB: http://www.sutron.com/

Table Of Contents

Welcome to XC PostProc	1

Using XC PostProc	3

Moving around XC Export	3

The Menu Bar	3

The XC PostProc Toolbar	4

The following tools are provided:	4

The Detail Panel	4

Detail level: Low only errors are displayed	4

Detail level: Medium errors and warnings are displayed	5

Detail level: High errors, warnings and status messages are displayed	5

The Status Window	5

The Status Bar	5

Creating a simple poll group	6

Poll group setup parameters	8

Export poll group parameters	8

Manual Post-Processing	11

Logging status messages	11

Messages in the status window	11

Advanced Topics	13

XConnect Database Schema	13

XC_SITES	13

XC_SITESENSORS	14

XC_DATA1	16

XC_TXTDATA1	17

XC_PPDATA1	18

XC_GOESQC	18

XC_RTUQC	19

Troubleshooting	21

Troubleshooting tips	21

Error Messages	21

Error 1300: Unable to connect to database.	21

Error 1301: Unable to close database xxx.	21

Error 1302: PollGroup x: Data export failed.	21

Error 1303: PollGroup x: Unable to open Output File.	21

Error 1304: PollGroup x: Unable to run program. Output File does not exist.	21

Error 1305: PollGroup x: Failed to run program.	22

Error 1306: Unable to export data because Data Value or Time Tag is missing.	22

Error 1307: Primary database query failed for station.sensor.	22

Error 1308: Secondary database query failed for station.sensor.	22

Error 1309: Unable to export because data interval is not specified.	23

Error 1310: Database query failed for station.sensor.	23

Index	25

Table of Figures

Figure 1.  XC PostProc main window	3

Figure 2.  Setup parameters window	6

Figure 3.  Setup parameters window	8

Figure 4.  Select poll group window	11

# Welcome to XC PostProc

XConnect is Sutron Corporation's latest data collection, data processing and data storage software.  Built on the strong principles of PcBase2, XConnect is compliant with today's 32-bit Windows operating systems and provides new tools and options for the user.

XConnect is a collection of executables designed to provide a complete solution for data collection, data handling, data viewing and data storage

The role of XC PostProc within an XConnect data collection system is to perform post-processing of the sensor data stored in the database.  XC PostProc is used only with the database storage option.  XC PostProc reads data from the sensor data tables, processes averages, minimums or maximums and stores the computed/post-processed data in the post-processed data tables.

Post-processed data in the database is gathered from “Poll Groups”.  These poll groups are comprised of sites and sensors based on some defined selection criteria (e.g. all sites with the rain gauge sensor, or all sites in a particular basin or latitude etc.).  The sites and sensors belonging to a poll group are all processed from the database at the same time. The user has complete control over how the poll groups are defined.

XC PostProc is actually a 2-part application.  XC PostProc has a user-interface part and a background service part.  The service runs in the background is visible by the  icon in the system tray (the system tray is where the date and time are displayed).  All processing is performed by the service.  Upon installation, the service is automatically installed and running when the computer powers up.  The post-processing service must be running to perform post-processing computations as well as edit post-processing poll group parameters.

# Using XC PostProc

## Moving around XC Export

The XC Export application consists of these main areas:

- The Menu Bar provides access to all user-controllable functions within the application.

- The Toolbar provides one-click access to important functions.

- The Status Window provides the user with informational or error messages related to data exporting.

- The Detail Level provides user with controls to increase the level of status messages displayed or pause the display.

Figure 1.  XC PostProc main window

## The Menu Bar

The Menu Bar provides access to the following menus:

| File | - Exit -- terminates the application. |
| --- | --- |
| Database | - Connect -- selects and connects to XConnect database used for post processing. - Disconnect -- disconnects from XConnect database used for post processing.. |
| PostProcess | - Export Data -- allows user to manually select a poll group to export immediately. - Stop Export -- stops export schedule. - Start Service -- start Post Processing service. - Stop Service -- stops Post Processing service. |
| Options | - Edit Setup Parameters -- edits the export pollgroup parameters. - Clear Status Messages -- clears the status window. - Log Status Messages -- logs all status messages to a disk file. |
| Help | - XC PostProc Help -- accesses this help system an defaults to Index tab. - XC PostProc Contents -- accesses this help system an defaults to Contents - About -- gets version information for this application. |

## The XC PostProc Toolbar

The toolbar area allows you to quickly access various XC Export functions.

### The following tools are provided:

|  | Manually select an export group and export data immediately. |
| --- | --- |
|  | Stop exporting and export schedule. |
|  | Edit the setup parameters for XC Decode. |
|  | Clear status messages in status windows. |
|  | Log all status messages in log file. |
|  | Open the on-line help (this document). |

## The Detail Panel

The Detail panel shows the next export poll group and allows the user to control the level of messages displayed in the status windows.

The Next Poll Group and Next Polling Time fields show the next scheduled export poll group and the time the poll group will trigger.

Message Detail options are:

- Low - indicates only error messages will be displayed.

- Med - indicates error messages, warning messages and brief status messages will be displayed.

- High - indicates all messages will be displayed.  In High detail, actual retrieved values and their corresponding time stamps will be displayed.

### Detail level: Low only errors are displayed

PollGroup 1:  ERROR!  Data export failed, database is not connected.

PollGroup 2:  ERROR!  Unable to open Output File.

Error messages are usually caused by the database being offline, or by a network file server error.  If the database is offline then no data will be exported.  However, the program will try to connect again to the database the next time data export is due.

### Detail level: Medium errors and warnings are displayed

PollGroup 1:  WARNING! No data was found since last export at 06/01/2001 11:30:00.

PollGroup 2:  WARNING! No data was found since last export at 06/01/2001 10:30:00.

Warning messages usually result if there was no data found for the date and time specified.

### Detail level: High errors, warnings and status messages are displayed

PollGroup 1:  Data exported successfully to C:\Test\ASCII0531.txt, Last data at 06/01/2001 11:30:00.

PollGroup 2:  ERROR! Unable to export data because Data Value or Time Tag is missing.

PollGroup 3:  WARNING! No data was found since last export at 06/01/2001 11:30:00.

## The Status Window

The Status window gives a list of exporting events performed by the XC Export program.

This list of status messages is in time order with each entry stamped with the date and time. Newest messages will appear at the top.  Scroll bars will appear as needed to allow an operator to view parts of the display that may not fit in the window.

## The Status Bar

The Status Bar displays parameter hints.

## Creating a simple poll group

Follow these steps to create a simple post-processing poll group.

- Click the XC PostProc icon on the desktop. The XC Export application starts minimized.

- From the Options menu, select PostProc Parameters or from the toolbar click on the  icon.

- The Post Processing Parameters window will appear.

Figure 2.  Setup parameters window

- Click on the New button to create a Poll group.  XC PostProc will automatically assign the next available poll group number.  The first Poll group will be 1.  The poll group number will increment automatically as you add more Poll groups.  Right clicking on the Poll Group list and clicking on the New menu option will also create new poll groups.

- The poll group will automatically be "enabled". Enable so that this Poll group will be active and process data.

- Select the processing Interval for the poll group.  Most likely, DAILY or MONTHLY will be chosen for post-processing.

- Select the processing Function to perform on the sensor data.  It can be AVG, MIN, MAX, CNT, SUM, LAST, STDEV, DELTA.

- Specify a Start From date to begin the post-processing. The Start From field will automatically be updated to the date and time of the last data processed.

- Add site-sensor combinations to the Site-sensor list box.  Click or highlight a site/station in the Sites list box.  The sensors associated with the site will be displayed in the Sensors list box.  Add the site-sensor combination by double clicking on the sensor or highlighting the sensor and click the Add button.  It is possible to select multiple sensors and add all of them to the Site-sensor list.  You can also remove the site-sensor combination by clicking on the Remove button.

- Click Save button to save all poll group changes.  This is very important.  You can also right click and select the Save menu option to save the poll group details.

- You can now do a test export by manually executing the poll group.

## Poll group setup parameters

In setting up XC PostProc, poll groups must be defined.  These poll groups are comprised of sites, sensors and a processing option based on some defined selection criteria (e.g. all sites with the rain gauge sensor, or all sites in a particular basin or latitude etc.).  The data for sites and sensors belonging to a poll group are processed from the database at the same time. To set these parameters:

- Click the XC PostProc icon on the desktop. The XC PostProc application starts minimized.

- From the Options menu, select PostProcessing Parameters or from the toolbar click on the  icon.

- The Post Processsing Parameters window will appear.

Figure 3.  Setup parameters window

From this window you can create and make changes to all poll groups.  When you are finished, click the Save button to save changes.   Clicking Close will only close the window without saving changes.

### Export poll group parameters

- Groups - List of current post-processing poll groups.  Select from the list to display the post-processing parameters associated with the poll group.

- New - Click this button to create/add a poll group.  The first poll group will be 1.  The poll group number will increment automatically as you add more Poll groups.  Right clicking on the Poll Group list and clicking on the New menu option will also create new poll groups.

- Delete - Click this button to delete the currently displayed poll group.

- Delete All - Click this button to delete all poll groups.  Use with caution!

- Save - Click this button to save all post-processing parameters for currently displayed poll group.

- Copy - Click this button to copy the post-processing parameters from one poll group to another.

- Enable - This flag indicates the poll group is active and ready to be polled/processed.  Poll groups can be created but left "inactive" until a later date.

- Interval - This parameter indicates how often to run the computation/function.  If DAILY is chosen then XC PostProc will execute this poll group every day at 00:00:0.  If MONTHLY is chosen, it will execute the poll at 00:00:00 of the first day of each month.  If As Entered: is chosen, the use can specify a custom time interval to execute the poll.

- Function Name - This parameter indicates the type of post-processing to apply to the retrieved sensor values.  The available functions are: AVG, MIN, MAX, CNT, SUM, LAST, STDEV, DELTA.

  - AVG - computes an arithmetic average

  - MIN - determines the minimum value for the Interval specified.

  - MAX - determines the maximum value for the Interval specified.

  - CNT - computes the total number of sensor values recorded/stored in the database for the Interval specified.

  - SUM - computes the sum of all the sensor values stored in the database for the Interval specified.

  - FIRST - determines the first value stored in the database for a specific sensor for the Interval specified.  Using Parameters to enter a number to indicate the position from the beginning.  e.g. 5 means the fifth value in that period.  If leave blank, return the first value.

  - LAST - determines the last value stored in the database for a specific sensor for the Interval specified.  Using Parameters to enter a number to indicate the position from the end.  e.g. 5 means the last fifth value in that period.  If leave blank, return the last value.

  - STDDEV - computes the standard deviation for the Interval specified.

  - DELTA - computes the delta between the first value in the Interval and the last value in the Interval specified.    Using Parameters to enter a number to indicate the Rollover Constant. Rollover Constant is the number added to the calculated delta value in order to make it positive.

- Parameters - A parameter field that can be passed into function when it is being calculated.  The format and meanings are depending on the functions.

  - FIRST - Accept a number to indicate the position from the beginning.  e.g. For hourly data, enter 12 to get the noon value for the day.

  - LAST - Accept a number to indicate the position from the end.  e.g. For hourly data, enter 12 to get the noon value for the day.

  - DELTA - Accept a number to indicate the Rollover Constant. Rollover Constant is the number added to the calculated delta value in order to make it positive.

- Start From - Specify start time for requesting data from the database.  The Start field will automatically be updated to the date and time of the last data received unless Skip Update is checked in which case it will always be the same entry.

- Data Offset Time -

- Data Flags - This field allows the user to control the data quality of the exported data  All Data indicates any data for that sensor in the database will be exported.  The default is All Data.  Good Data indicates sensor data that does not have any alarm flag fields checked.  These alarm flag fields are evaluated by XC Alarm or other custom applications.  If the sensor data is evaluated to exceed a threshold, then the corresponding flag field is checked in the database.

- Filter File - .  Filter files affect the list of sites displayed in the Sites list box.  In a very large system (> 100 sites), browsing through such a long list of sites is difficult.  Select a Filter File to reduce the list of site displayed to a specific list targeting the export purpose.  Filter files can be created in XC DataView.  Filter files are ASCII files with a .FLT extension containing statements used to filter/reduce the site list.  The examples show the contents of different filter files.

Example 1:

LATITUDE < 42.866111

SENSOR = GH

ENABLED = Y

Example 2:

BASIN = REGION1

SENSOR = BATTERY

- Sites - List of sites/stations available in database.  If a filter file is used, this reflects the list of sites adhering to the filter statements.

- Sites-Sensors Selected - List of sensor that will be exported in this poll group.

- Data Label - This parameter represent a data label that represents the computed value.  In most case, a different name will be given to processed sensor value rather than the original sensor label.  The Data Label must be unique.  When viewing post-processed data in XC DataView or XC Reports, the Data Label name will be used to generate the list of available sensors to display.  The Data Label is stored in the XC_PPDATA1 data table of the XConnect database.

- Alternate Data Label - This parameter is provided if an alternate data label is desired by the user. The Data Label is stored in the XC_PPDATA1 data table of the XConnect database.

## Manual Post-Processing

XC PostProc will automatically process data based on the Interval of the active post-processing poll groups.  However, if the user does not want to wait for the Next Polling Time as displayed in the detail panel of the status window, the user can trigger any poll group.  To trigger an on-demand decoding interval:

- Click the XC ProstProc icon on the desktop. The XC Export application starts minimized.

- From the PostProcess menu, select Process Data or from the toolbar click on the  icon.

- The Select Process Data window will appear.

Figure 4.  Select poll group window

- Select desired poll group number to manually trigger and click Ok.

## Logging status messages

The purpose of the Log Status Messages is for troubleshooting.  Logging all messages, will provide Sutron customer support a historical log of all events to help troubleshoot any problems.  To log all status  messages:

- Click the XC PostProc icon on the desktop. The XC PostProc application starts minimized.

- From the Options menu, select Log Status Messages or from the toolbar click on the  icon.  The user will be required to enter/select the name of the file to store the status messages.

## Messages in the status window

Below are the status messages XC Export will display in the status window as it retrieves and process data from the database:

- Connected to database xxx.

XC Export has successfully connected to the database.

- Disconnected from xxx.

XC Export has terminated its connection to the database.

- xxx database NOT connected.

XC Export is currently NOT connected to the database.

- PollGroup x:  Retrieving data...

- Startup parameters loaded.

- Post processing service started.

- Post processing service stopped.

# Advanced Topics

## XConnect Database Schema

XConnect consists of a set of 4 “management” tables and a set of 4 "data" tables.  The XConnect tables are designed to provide a great deal of flexibility in:

- Naming of stations and data parameters

- Grouping data through such attributes as river basin or political boundaries

- Managing the size of data tables so that performance is maximized

The four management tables are:

- XC_SITES - Contains stations in XConnect system.

- XC_SITESENSORS - Contains sensors of stations in XConnect system.

The four data tables are:

- XC_DATA1 - Contains numerical sensor data.

- XC_TXTDATA1 - Contains text sensor data.

- XC_PPDATA1 - Contains data from post-processing instructions and operations.

- XC_GOESQC - Contains satellite message quality data.

- XC_RTUQC - Contains SSP communication data.

### XC_SITES

| Name | Data Type | Length | Required | Description |
| --- | --- | --- | --- | --- |
| STATION_ID (PK) | Character | 20 | Y | Name of station in XConnect |
| ENABLED | Character | 1 | Y | Active station (Y/N) |
| UNIT_ID | Character | 15 | N | RTU Unit ID |
| SITE_COMMENT | Character | 32 | N | General purpose string for comments on station |
| INSTALLATION_DATE | Date |  | N | Date station was installed |
| AGENCY | Character | 32 | N | Agency or organization that owns the station |
| COUNTRY | Character | 32 | N | Country where site is located |
| DISTRICT | Character | 32 | N | District where station is located |
| CITY | Character | 32 | N | City where station is located |
| STATE | Character | 32 | N | State where station is located |
| COUNTY | Character | 32 | N | County where station is located |
| BASIN | Character | 32 | N | Rriver basin where station is located |
| LATITUDE | Number |  | N | Latitude of station location |
| LONGITUDE | Number |  | N | Longitude of station location |
| ELEVATION | Number |  | N | Elevation of station |
| WEIGHTING_FACTOR | Number |  | N | Precipation station weighting for map calculation |
| COEFFICIENT1 | Number |  | N | General purpose coefficient 1 |
| COEFFICIENT2 | Number |  | N | General purpose coefficient 2 |
| COEFFICIENT3 | Number |  | N | General purpose coefficient 3 |
| SATELLITE_ID | Character | 8 | N | Satellite/NESDIS identifier |
| PRIMARY_CHANNEL | Number |  | N | Primary satellite transmission channel |
| RANDOM_CHANNEL | Number |  | N | Secondary satellite transmission channel |
| REPORTING_TIME | Time |  | N | Assigned satellite transmission time slot |
| REPORTING_INTERVAL | Number |  | N | Assigned satellite transmission interval |
| LAST_UPDATE | Date |  | N | Time of last data received for station |
| TZONE_CODE | Character | 3 | N | ASCII time zone code, e.g., EST |
| GMT_OFFSET | Number |  | N | Time zone offset from GMT |
| SHEF_ID | Character | 8 | N | SHEF code for station |
| ALTERNATE_CHAR_ID_1 | Character | 10 | N | Alternate character ID 1 |
| ALTERNATE_CHAR_ID_2 | Character | 10 | N | Alternate character ID 2 |
| GPSTRING1 | Character | 20 | N | General purpose string 1 |
| GPSTRING2 | Character | 20 | N | General purpose string 2 |
| GPNUMBER1 | Number |  | N | General purpose number 1 |
| GPNUMBER2 | Number |  | N | General purpose number 2 |
| SETUP_FILE_NAME | Character | 255 | N | Filename of data logger setup file |
| PICTURE_FILE_NAME | Character | 255 | N | Filename of image of station |

### XC_SITESENSORS

| Name | Data Type | Length | Required | Description |
| --- | --- | --- | --- | --- |
| STE_STATION_ID (FK) | Character | 20 | Y | Name of station in XConnect |
| SENSORNAME (PK) | Character | 12 | Y | Name of sensor in XConnect |
| ENABLED | Character | 1 | Y | Active sensor enabled for porcessing (Y/N) |
| DATA_TABLE | Character | 10 | Y | Data table name where sensor is stored |
| DESCRIPTION | Character | 32 | N | General purpose string for comments on sensor |
| MANUFACTURER | Character | 20 | N | Manufacturer of sensor |
| MODEL_NUMBER | Character | 20 | N | Model number of sensor |
| SHEF_PE_CODE | Character | 7 | N | SHEF code for sensor |
| PARAMETER_CODE | Character | 12 | N | Parameter code applied for sensor |
| ALT_PARAMETER_CODE_1 | Character | 12 | N | Alternate parameter code 1 |
| ALT_PARAMETER_CODE_2 | Character | 12 | N | Alternate parameter code 2 |
| EQUATION | Character | 128 | N | Equation applied to sensor |
| RATING_TABLE | Character | 128 | N | Filename of rating/lookup table applied to sensor |
| OFFSET | Number |  | N | General purpose offset number |
| SHIFT | Number |  | N | General purpose shift number |
| HIGH_HIGH_LIMIT | Number |  | N | High high limit for sensor |
| HIGH_HIGH_ALARM | Number |  | N | How to apply High High limit: NONE, ABOVE, BELOW |
| HIGH_LIMIT | Number |  | N | High limit for sensor |
| HIGH_ALARM | Number |  | N | How to apply High limit: NONE, ABOVE, BELOW |
| LOW_LIMIT | Number |  | N | Low limit for sensor |
| LOW_ALARM | Number |  | N | How to apply Low limit: NONE, ABOVE, BELOW |
| LOW_LOW_LIMIT | Number |  | N | Low low limit for sensor |
| LOW_LOW_ALARM | Number |  | N | How to apply Low Low limit: NONE, ABOVE, BELOW |
| ROC_LIMIT | Number |  | N | Rate of change limit for sensor (per second) |
| ROC_ALARM | Number |  | N | How to apply Rate of Change limit: NONE, ABOVE, BELOW |
| ROC_INTERVAL | Number |  | N | Interval (seconds) over which rate of change is computed |
| DEADBAND | Number |  | N | Tolerance or allowable change in No Change where the alarm will not trigger |
| NO_CHANGE_INTERVAL | Number |  | N | Maximum time allowed for no change in sensor value expressed in days and fractions |
| NO_CHANGE_ALARM | Number |  | N | How to apply No Change limit: NONE, ON |
| TEXT_LIMIT | Character | 32 | N | Text that corresponds to an alarm condition for a text sensor data |
| TEXT_ALARM | Number |  | N | How to apply Text alarm: NONE, ON |
| COEFFICIENT1 | Number |  | N | General purpose coefficient 1 |
| COEFFICIENT2 | Number |  | N | General purpose coefficient 2 |
| COEFFICIENT3 | Number |  | N | General purpose coefficient 3 |
| COEFFICIENT4 | Number |  | N | General purpose coefficient 4 |
| COEFFICIENT5 | Number |  | N | General purpose coefficient 5 |
| GPNUMBER1 | Number |  | N | General purpose number 1 |
| GPNUMBER2 | Number |  | N | General purpose number 2 |
| GPSTRING1 | Character | 20 | N | General purpose string 1 |
| GPSTRING2 | Character | 20 | N | General purpose string 2 |
| ALERT_ID | Number |  | N | ALERT identifier for sensor |
| ALERT_TYPE | Character | 10 | n | ALERT sensor type |

### XC_DATA1

| Name | Data Type | Length | Required | Description |
| --- | --- | --- | --- | --- |
| STATION_ID (PK) | Character | 20 | Y | Name of station where sensor is located |
| SENSORNAME (PK) | Character | 12 | Y | Name of sensor |
| TIME_TAG (PK) | Date |  | Y | Date and time sensor value received |
| SOURCE (PK) | Character | 1 | Y | Source of data. Valid options are: S (Self-timed), R (Random), C (Current), T (Timetag) |
| ORIG_VALUE | Number |  | Y | Original data value as processed by XC Rtu or XC Decode |
| ED_VALUE | Number |  | N | Edited data value |
| FLAG1 | Character | 1 | N | General purpose quality flag 1 |
| FLAG2 | Character | 1 | N | General purpose quality flag 2 |
| FLAG3 | Character | 1 | N | General purpose quality flag 3 |
| FLAG4 | Character | 1 | N | General purpose quality flag 4 |
| HIGH_HIGH_FLAG | Number |  | N | Status of high high flag. Valid options are: 0 (NORMAL), 1 (ABOVE), -1 (BELOW) |
| HIGH_FLAG | Number |  | N | Status of high flag. Valid options are: 0 (NORMAL), 1 (ABOVE), -1 (BELOW) |
| LOW_FLAG | Number |  | N | Status of low flag. Valid options are: 0 (NORMAL), 1 (ABOVE), -1 (BELOW) |
| LOW_LOW_FLAG | Number |  | N | Status of low low flag. Valid options are: 0 (NORMAL), 1 (ABOVE), -1 (BELOW) |
| ROC_FLAG | Number |  | N | Status of rate of change flag. Valid options are: 0 (NORMAL), 1 (ABOVE), -1 (BELOW) |
| NO_CHG_FLAG | Number |  | N | Status of no change flag. Valid options are: 0 (NORMAL), 1 (CHANGE) |
| ALARM_FLAG | Number |  | N | Status of alert flag. Valid options are: 0 (NORMAL), 1 (CHANGE) |

### XC_TXTDATA1

| Name | Data Type | Length | Required | Description |
| --- | --- | --- | --- | --- |
| STATION_ID (PK) | Character | 20 | Y | Name of station where sensor is located |
| SENSORNAME (PK) | Character | 12 | Y | Name of sensor |
| TIME_TAG (PK) | Number |  | Y | Date and time senor value received |
| SOURCE (PK) | Character | 1 | Y | Source of data. Valid options are: S (Self-timed), R (Random), C (Current), T (Timetag) |
| TEXT_VALUE | Character | 256 | Y | Original text value as received by XC Rtu or XC Decode |
| FLAG1 | Character | 1 | N | General purpose quality flag 1 |
| FLAG2 | Character | 1 | N | General purpose quality flag 2 |
| FLAG3 | Character | 1 | N | General purpose quality flag 3 |
| FLAG4 | Character | 1 | N | General purpose quality flag 4 |
| MESSAGE_STATUS | Character | 2 | N | Status character used to track if message has been read, forward, etc. |
| TXT_ALARM_FLAG | Number |  | N | Status of text alarm flag. Valid options are: 0 (NORMAL), 1 (ALARM) |

### XC_PPDATA1

| Name | Data Type | Length | Required | Description |
| --- | --- | --- | --- | --- |
| STATION_ID (PK) | Character | 20 | Y | Name of station where sensor is located |
| DATA_LABEL (PK) | Character | 20 | Y | Name of computed value |
| PPI_NAME (PK) | Character | 5 | Y | Name of post processing instruction |
| TIME_TAG (PK) | Date |  | Y | Date and time of start of the post processing time period |
| TIME_PERIOD (PK) | Number |  | Y | Number of hours/days of data used by function |
| PP_VALUE | Number |  | Y | Post processed value |
| FLAG1 | Character | 1 | N | General purpose quality flag 1 |
| FLAG2 | Character | 1 | N | General purpose quality flag 2 |
| FLAG3 | Character | 1 | N | General purpose quality flag 3 |
| VALUE_TIME_TAG | Date |  | N | Exact time value occurred (i.e, Time of max value) |
| PROCESS_TIME_TAG | Date |  | Y | Date and time value was actually processed/calculated |
| SENSORNAME | Character | 12 | Y | Name of sensor calculations performed on |
| ALTERNATE_LABEL | Character | 20 | N | Alternate label for computed value |

### XC_GOESQC

Detailed descriptions of quality fields are in the NESDIS header topic under Advanced Topics.

| Name | Data Type | Length | Required | Description |
| --- | --- | --- | --- | --- |
| NESDIS_ID (PK) | Character | 8 | Y | NESDIS or satellite agency identifier |
| TIME_TAG (PK) | Date |  | Y | Date and time message was transmitted |
| SOURCE (PK) | Character | 1 | Y | Source of message. Valid options are: S (Self-timed), R (Random) |
| STATION_ID | Character | 20 | N | XConnect station name, if not defined, defaults to NESDIS ID |
| FAILURE_CODE | Character | 1 | N | Message status |
| SIG_STRENGTH | Number |  | N | Signal Strength |
| FREQ_OFFSET | Number |  | N | Frequency Offset |
| MOD_INDEX | Character | 1 | N | Modulation Index |
| MOD_QUAL | Character | 1 | N | Modulation Quality |
| CHANNEL | Number |  | N | Channel message transmitted on |
| SAT_LOC | Character | 1 | N | GOES satellite message transmitted to |
| UC_STATUS | Character | 2 | N | Uplink carrier status (NOT CURRENTLY USED - ALWAYS FF) |
| MESSAGE_LEN | Number |  | N | Transmitted message length |
| ACTUAL_LEN | Number |  | N | Actual received message length |
| PARITY NUMBER | Number |  | N | Number of parity characters in message |
| BUFFER_EMPTY | Number |  | N | Number of BUFFER EMPTY messages transmitted by station (SATLINK only) |
| BATTERY_VOLTAGE | Number |  | N | Battery voltage at station when message was transmitted |
| SPARE1 | Number |  | N | Spare field for future use |
| SPARE2 | Number |  | N | Spare field for future use |

### XC_RTUQC

| Name | Data Type | Length | Required | Description |
| --- | --- | --- | --- | --- |
| STATION_ID (PK) | Character | 20 | Y | Name of the station SSP message was transmitted/received to/from |
| TIME_TAG (PK) | Date |  | Y | Date and time SSP message value transmitted/received |
| RX_TX (PK) | Character | 1 | Y | SSP messages was transmitted or received by XConnect |
| PORT | Character | 30 | N | Port SSP message was sent/received (i.e., COM!, COM2....) |
| SEQUENCENUM | Number |  | N | Sequence/flag number used in SSP message. |
| OPCODE | Number |  | N | SSP operation code (CurDataReq, TimeTagReq) |
| STATUS | Number |  | N | Status of SSP message (0 - None, 1 - Success, 2 - Failed) |
| RETRIES | Number |  | N | Number of retries used |
| GOOD | Number |  | N | Number of good messages received by the station |
| BAD | Number |  | N | Number of bad messages received by the station |
| CRC | Number |  | N | Number of SSP messages with CRC errors received by the station |
| BATTERY_VOLTAGE | Number |  | N | Battery Voltage from SSP message |
| SPARE1 | Number |  | N | Spare field for future use |
| SPARE2 | Number |  | N | Spare field for future use |

# Troubleshooting

## Troubleshooting tips

Topic is under development

## Error Messages

Potential error messages generated by XC PostProc are:

### Error 1300: Unable to connect to database.

#### Troubleshooting steps:

Ensure that:

- Data source is configure properly.

Go to the Data Source (ODBC) control applet and verify configuration parameters and user has correct privileges to access database.

- Verify network is functioning properly.

Check network cable connections or consult you network administrator for additional troubleshooting steps.

### Error 1301: Unable to close database xxx.

#### Troubleshooting steps:

Ensure that:

- Data source is configure properly.

Go to the Data Source (ODBC) control applet and verify configuration parameters and user has correct privileges to access database.

- Verify network is functioning properly.

Check network cable connections or consult you network administrator for additional troubleshooting steps.

### Error 1302: PollGroup x: Data export failed.

#### Troubleshooting steps:

Potential reasons for error:

- An expected error was encountered while trying to export data for this poll group.

View additional error messages to determine error.

### Error 1303: PollGroup x: Unable to open Output File.

#### Troubleshooting steps:

Ensure that:

- File is not already in use by another application such as Notepad.

- Ensure directory path of output file exists.  Use Windows Explorer or My Computer to verify path.

### Error 1304: PollGroup x: Unable to run program. Output File does not exist.

#### Troubleshooting steps:

Reasons for error:

- On the Run parameter of the poll group setup parameters, the user specified a program that used a command line parameter.  For example, Excel.exe MyExcelOutput.xls.  Executing this statement failed because the file, MyExcelOutput.xls, does not exist.

Return to XC Export, poll group setup window to correct any mistyped characters.

Specify the full path to the filename (c:\xconnect\export\MyExcelOutput.xls).

### Error 1305: PollGroup x: Failed to run program.

#### Troubleshooting steps:

Reasons for error:

- On the Run parameter if the poll group setup parameters, the user specified a program that used a command line parameter.  For example, Excel.exe MyExcelOutput.xls.  Executing this statment failed because the file, MyExcelOutput.xls, does not exist.

Return to XC Export, poll group setup window to correct any mistyped characters.

Specify the full path for the program and the filename (c:\msoffice\excel.exe c:\xconnect\export\MyExcelOutput.xls).

### Error 1306: Unable to export data because Data Value or Time Tag is missing.

#### Troubleshooting steps:

Reasons for error:

- After retrieving the data from the database, XC Export separates the time stamps and data values in to separate list to prepare for formatting.  If the number of time stamps and data values are NOT the same, this error will occur and exporting will for this poll group will be stopped.

This error should never occur.  If it does, it may indicate memory corruption.  Close XC Export and restart.  Manually test this poll group.

### Error 1307: Primary database query failed for station.sensor.

#### Troubleshooting steps:

Ensure that:

- Station and sensor are configured in the database.

Start XC Reports and verify data from this station and sensor.  If not, start XC Desktop and save station and sensor to database.

- Data source is configure properly.

Go to the Data Source (ODBC) control applet and verify configuration parameters and user has correct privileges to access database.

- Verify network is functioning properly.

Check network cable connections or consult you network administrator for additional troubleshooting steps.

### Error 1308: Secondary database query failed for station.sensor.

#### Troubleshooting steps:

Ensure that:

- Station and sensor are configured in the database.

Start XC Reports and verify data from this station and sensor.  If not, start XC Desktop and save station and sensor to database.

- Data source is configured properly.

Go to the Data Source (ODBC) control applet and verify configuration parameters and user has correct privileges to access database.

- Verify network is functioning properly.

Check network cable connections or consult you network administrator for additional troubleshooting steps.

### Error 1309: Unable to export because data interval is not specified.

#### Troubleshooting steps:

Reasons for error:

- User has selected a SHEF .E export format and a Data Interval has not been specified.  The .E format denotes a single station, single parameter  with an evenly spaced time series.

Return to XC Export poll group setup window to specify a Data Interval for SHEF export group.

### Error 1310: Database query failed for station.sensor.

#### Troubleshooting steps:

Ensure that:

- Station and sensor are configured in the database.

Start XC Reports and verify data from this station and sensor.  If not, start XC Desktop and save station and sensor to database.

- Data source is configure properly.

Go to the Data Source (ODBC) control applet and verify configuration parameters and user has correct privileges to access database.

- Verify network is functioning properly.

Check network cable connections or consult you network administrator for additional troubleshooting steps.

# Index

A

Add Missing Records	12

All Data	12

Always Append Data	12

ASCII	1, 10, 12

B

Base Time	10, 12, 15

C

Clear Status Messages	5

Clicking

Close	12

New menu	10, 12

Poll Group list	10, 12

Remove button	10

Clicking	10

Clicking	12

D

Data

Missing	12

Data	12

Data Flags	12

Data Interval	12, 17

Database Queries	5

Delete All	12

Detail Level	3

Detail Panel	7

E

Edit Setup Parameters	5

Enable	10

EXCEL	1, 10, 12

Export Data window	15

Export Parameters	10, 12

F

Filter File

Select	12

Filter File	12

FLT	12

Format

Select	10

Format	10

G

Good Data	12

I

Interval	10, 12, 15

L

Log Status Messages	5, 16

Logging

status messages	16

Logging	16

M

Manual Exporting	15

Menu Bar	3, 5

Message Detail	7

Missing Data	12

N

New button	10

Next Poll Group	7

Next Polling Time	7

O

Output File

Specify	10

Output File	7

Output File	10

Output File	12

P

Pause Export	5

Poll	10, 12

Poll Group list	10, 12

Poll Groups	12

pollgroup	5, 7, 17

primary database

retrieve data	17

primary database	17

R

Remove button

clicking	10

Remove button	10

S

Save button	10, 12

Save Settings	5

Save Settings As	5

Secondary Connect	5

Secondary Disconnect	5

Select

Filter File	12

Format	10

Save menu	10

Select	10

Select	12

Sensor	12

Sensors - List	10, 12

SHEF	1, 10, 12

Sites list

filter/reduce	12

sites/stations	12

Sites list	10

Sites list	12

Skip Update	10, 12

Start	10, 12

status messages

Logging	16

status messages	16

Status Window	3, 8

Stop Export	5

Stop Time	12

T

Time Tag	7

tips

Troubleshooting	25

tips	25

Troubleshooting

tips	25

Troubleshooting	25

X

XC Export application	3, 10, 12, 15, 16

XC Export Contents	5

XC Export Help	5

XC Export icon	10, 12, 15, 16

XC Export Toolbar	6

XFG	5, 6